## Actions
Topic | Site | Activity | Frequency | Due Date | Responsible Party | Jan 01 | Feb 02 | Mar 03 | Apr 04 | May 05 | Jun 06 | Jul 07 | Aug 08 | Sep 09 | Oct 10 | Nov 11 | Dec 12 | Notes | Location | Citation
Air | San Diego | PLACEHOLDER: NEED TO DETERMINE VISUAL EMISSIONS MONITORING REQUIREMENTS, IF ANY, TO COMPLY WITH PERMIT LIMITATIONS. | TBD | TBD | TBD | [12 empty] | The permit establishes limits on visual emissions but does not specify how to monitor them or what records to keep of them. | TBD
Air | San Diego | Complete and submit air emissions inventory. | Annual | April 5th, 2025 | [14 empty] | http://eis.sandiegocounty.gov/Portal | CARB Rule 19.3 | bar: Apr 04
Air | San Diego | Documentation of maintenance, dates of operation, and elapsed times of operation for the Emergency generator must be kept on file. |  |  | Maintenance | [12 empty] | See Air Permit Record APCD2019-PTO-003234 for more information on record keeping. | On Site | Air Permit Record APCD2019-PTO-003234 | bar: Jan 01 to Dec 12
Air | San Diego | Annual tune-ups for the three boilers on-site. | Annually |  | Maintenance | [12 empty] | No two tuning events shall occur within 90 days of each other. The facility must maintain records of these tune-ups for three calendar years. | On Site | Air Permit Record APCD2021-PTO-003831 & San Diego County Air Pollution Control District Rules and Regulations 69.2(j)
Air | San Diego | Renew Air Permit for the three medium boilers. | Annually | 2025-02-28 | EHS Manager | [14 empty] | Air Permit Record APCD2021-PTO-003831
Air | San Diego | Renew Air Permit for corn silo. | Annually | 2025-02-28 | EHS Manager | [14 empty] | Air Permit Record APCD2011-PTO-000874
Air | San Diego | Ensure that during operation the visible emission discharges do not exceed Ringlemann Chart shade Number 1 for a period of more than three minutes in any 60 consecutive minutes. | Episodic | [16 empty] | Air Permit Record APCD2011-PTO-000874 Condition 1.
Air | San Diego | Record the date, time, and amount of grain filled into the grain silo. | Episodic |  | Operations / Warehouse | [12 empty] | Maintained the reacords for at least 3 years and ensure they are made readily available to the District upon request. |  | Air Permit Record APCD2011-PTO-000874 Condition 1.
Air | San Diego | Renew Air Permit for wheat flour silo #1. | Annually | 2025-02-28 | EHS | [14 empty] | Air Permit Record APCD2011-PTO-000875
Air | San Diego | Ensure that during operation the visible emission discharges do not exceed Ringlemann Chart shade Number 1 for a period of more than three minutes in any 60 consecutive minutes. | Episodic | [16 empty] | Air Permit Record APCD2011-PTO-000875 Condition 4.
|  | Maintain and change the dust collectors' filters when necessary to meet the visible emission requirements. | Episodic |  | EHS | [14 empty] | Air Permit Record APCD2011-PTO-000875 Condition 5.
Air | San Diego | Renew Air Permit for wheat flour silo #2. | Annually | 2025-02-28 | EHS | [14 empty] | Air Permit Record APCD2011-PTO-000876
Air | San Diego | Ensure that during operation the visible emission discharges do not exceed Ringlemann Chart shade Number 1 for a period of more than three minutes in any 60 consecutive minutes. | Episodic | [16 empty] | Air Permit Record APCD2011-PTO-000876 Condition 4.
|  | Maintain and change the dust collectors' filters when necessary to meet the visible emission requirements. | Episodic |  | Maintenance | [14 empty] | Air Permit Record APCD2011-PTO-000876 Condition 5.
Air | San Diego | Renew Air Permit for the emergency generator. | Annually | 2025-02-28 | EHS | [14 empty] | Air Permit Record APCD2019-PTO-003234
Air | San Diego | Track the hours of operation for the emergency engine to ensure operation for non-emergency purposes does not exceed 52 hours per calendar year. | Monthly |  | EHS / Maintenance | [14 empty] | Air Permit Record APCD2019-PTO-003234 Condtion 3. | bar: Jan 01 to Dec 12
Air | San Diego | Verify the fuel burned contains no more than 10 grains of sulfur compounds, calculated as hydrogen sulfide, per 100 cubic feet of dry gaseous fuel at standard conditions. | Annually |  | EHS | [14 empty] | Air Permit Record APCD2019-PTO-003234 Condtion 4.
Air | San Diego | Ensure that during operation the visible emission discharges do not exceed Ringlemann Chart shade Number 1 for a period of more than three minutes in any 60 consecutive minutes. | Episodic |  | EHS | [14 empty] | Air Permit Record APCD2019-PTO-003234 Condtion 5.
Air | San Diego | If a non-resettable meter is to be replaced on the engine notify the APCD Compliance Division within 10 calendar days. | Episodic | 10 days after replacement | EHS | [14 empty] | Air Permit Record APCD2019-PTO-003234 Condtion 7.
Air | San Diego | Conduct periodic maintenance of the engine and add-on control equipment as recommended by the engin and control equipment manufacturers. | Annually |  | Maintenance | [14 empty] | Air Permit Record APCD2019-PTO-003234 Condtion 10.
Air | San Diego | Maintain a monthly operating log for the engine containing the dates and times of operation, documentation/description of the power outage, total cumulative hours of operation per calendar year, records of maintenance, and hours for all other uses. | Monthly |  | EHS | [14 empty] | Air Permit Record APCD2019-PTO-003234 Condtion 11. | bar: Jan 01 to Dec 12
Air | San Diego | If the facility's boiler is subject to 40 CFR 60.40c; NSPS part Dc, maintain fuel usage records. | [15 empty] | Any facility that oeprates a fossil-fueled Steam generator that commenced construction or modification after August 17, 1971, is subject to the requirements of 40 CFR 60. |  | 40 CFR 60.40c
Air | San Diego | All equipment inspection and maintenance for the corn silo shall be recorded in a continuous log at the time of inspection or maintenance. The log shall be made available to the District upon request | Episodic |  | Maintenance | [14 empty] | Air Permit to Operate APCD2011-PTO-000874
Air | San Diego | If the hour meter on the Emergency Natural Gas Engine is replaced, notify the Air Pollution Control District Compliance Division within 10 days. | Episodic | Within 10 days of the change | EHS | [14 empty] | Air Permit to Operate APCD2019-PTO-003234
Air | San Diego | All records required by the Air Permit to Operate APCD2019-PTO-003234 must be maintained on site for a minimum of 36 months. |  |  | EHS | [14 empty] | Air Permit to Operate APCD2019-PTO-003234
Air | San Diego | If the facility is determined to be high priority facility by the district/ Office of Environmental Health Hazard Assessment, the facility must submit a health risk assessment to the district. | Annual | Within 150 days of the facility's designation. | [15 empty] | Cal.Health & Safety Code § 44360 & San Diego County Air Pollution Control District Rule 1210
Air | San Diego | If the facility is determined to be above the significant risk threshold by the Air Pollution Control District, the facility is required to provide a public notice plan. | Episodic | Within 45 days of the notice from the Air Pollution Control Officer. | [13 empty] | For more information on the requirements of the public notice plan, see San Diego County Air Pollution Control District Rule 1210(d). |  | San Diego County Air Pollution Control District Rule 1210(d)
Air | San Diego | Within 30 days of the date of written notice from the Air Pollution Control Officer of the approval of the public notification plan, the owner or operator of a stationary source shall implement the approved public notification plan. | Episodic | Within 30 days of the approval of the public notice plan from the Air Pollution Control Officer. | [13 empty] | For more information on the requirements of the public notice plan, see San Diego County Air Pollution Control District Rule 1210(d). |  | San Diego County Air Pollution Control District Rule 1210(d)
Air | San Diego | Within 180 days of receipt of written notice from the Air Pollution Control Officer that a stationary source's most recent approved health risk assessment indicates health risks at or above the significant risk threshold(s), the owner or operator shall submit to the Air Pollution Control Officer, for completeness review and approval, a risk reduction audit and plan. | Episodic | Within 180 days of the written notice from the Air Pollution Control Officer. | [13 empty] | For more information on the requirements of the public notice plan, see San Diego County Air Pollution Control District Rule 1210(e). |  | San Diego County Air Pollution Control District Rule 1210(e)
EPCRA | San Diego | Review Chemcial Inventories and submit Tier II to state and local agencies as required. | Annual | March 1st | EHS | [14 empty] | 19 CCR 2654 and 19 CCR 2729.4 | bar: Mar 03
EPCRA | San Diego | Review thresholds and releases to determine if Section 313 TRI Reporting is required for the previous year. | Annual | July 1st | EHS | [14 empty] | 40 CFR 372 | bar: Jul 07
Hazardous Materials | San Diego | Update and/or recertify the HMBP, including: -Update Facility Information element (Business Activities and Business Owner/Operator Information) -Update Hazardous Materials Inventory element (HMI and Site Maps) -Update Emergency Response and Training Plans element (CERCP and ETP) | Annually | By March 1, or other date stipulated by the CUPA | EHS | [13 empty] | CERS; https://cers.calepa.ca.gov | bar: Feb 02
Hazardous Materials | San Diego | Review, modify if necessary, and pay the CUPA invoice. | Annually | By March 1, or other date stipulated by the CUPA | EHS | [12 empty] | The invoice usually comes from the CUPA in the mail between mid January and early February. Follow the payment instructions on the invoice. | By Postal Mail | bar: Feb 02
Hazardous Materials | San Diego | Update and resubmit the Hazardous Materials Inventory element (HMI and Site Maps) of the HMBP when a material becomes reportable. The Facility Information element must also be resubmited (with or without changes) when the Hazardous Materials Inventory element is updated. | Episodic | Within 30 days | EHS | [12 empty] | A hazardous material becomes reportable with the amount present on site exceeds the reportable quantity (500 lbs for solids, 55 gallons for liquids, 200 cubic feet at STP for gases, or the TPQ for an EHS [refer to USEPA's List of List for EHSs and their TPQs). The threshold quantity determination is made based on the materials physical state at ambient conditions, but the material is reported in the physical state and associated units in which it is stored. (For example, liquefied propane is reportable if the facility stores more than 200 cubic feet of propane at STP, but the liquefied propane would be reported in gallons). | CERS; https://cers.calepa.ca.gov
Hazardous Materials | San Diego | Update and resubmit the Hazardous Materials Inventory element (HMI and Site Maps) of the HMBP when the amount of a previously reported material changes by 100% or more. The Facility Information element must also be resubmited (with or without changes) when the Hazardous Materials Inventory element is updated. | Episodic | Within 30 days | EHS | [12 empty] | A hazardous material becomes reportable with the amount present on site exceeds the reportable quantity (500 lbs for solids, 55 gallons for liquids, 200 cubic feet at STP for gases, or the TPQ for an EHS [refer to USEPA's List of List for EHSs and their TPQs). The threshold quantity determination is made based on the materials physical state at ambient conditions, but the material is reported in the physical state and associated units in which it is stored. (For example, liquefied propane is reportable if the facility stores more than 200 cubic feet of propane at STP, but the liquefied propane would be reported in gallons). | CERS; https://cers.calepa.ca.gov
Hazardous Materials | San Diego | Update and resubmit the Facility Information element (Business Activities and Business Owner/Operator Information) and the Emergency Response and Training Plans element (CERCP and ETP) of the HMBP whenever the facility's emergency coordinator information changes. | Episodic | Within 30 days | EHS | [12 empty] | The emergency coordinator information in the Business Owner/Operator Information section of the Facility Information element and on the CERCP in the Emergency Response and Training Plans element should always match. | CERS; https://cers.calepa.ca.gov
Hazardous Materials | San Diego | Update and resubmit the Facility Information element (Business Activities and Business Owner/Operator Information) whenever changes occur, including: 1) changes to the facility's contact information; 2) changes to the business owner/operator's contact information; 3) changes to the facility's environmental contact; 4) changes to the facility's billing contact; and 5) changes in the property owner or to the property owner's contact information. | Episodic | Within 30 days | EHS | [12 empty] | Changes to the business owner's name cannot be made by the facility in CERS. Contact the CUPA concerning in changes in business ownership. Property ownership can be updated by the facility. | CERS; https://cers.calepa.ca.gov
Hazardous Materials | San Diego | Update and resubmit the Site Map(s) in the Hazardous Materials Inventory element of the HMBP whenever the locations of items required to be shown on the map(s) are changed (e.g., hazmat storage, emergency equipment locations, etc.). The Facility Information element must also be resubmited (with or without changes) when the Hazardous Materials Inventory element is updated. | Episodic | Within 30 days | EHS | [12 empty] | Items which must be included on the Site Map(s) include adjacent streets, access and exit points, evacuation staging areas, hazardous material handling and storage areas, emergency response equipment, and, if present, loading areas, internal roads, storm and sewer drains, and emergency shutoffs. | CERS; https://cers.calepa.ca.gov
Hazardous Materials | San Diego | Update and resubmit the Emergency Response and Training Plans element (CERCP and ETP) of the HMBP whenever changes to those plans occur (e.g., emergency equipment locations and capabilities, earthquake vulnerability, training curriculum updates, etc.). The Facility Information element must also be resubmited (with or without changes) when the Emergency Response and Training Plans element is updated. | Episodic | Within 30 days | EHS | [13 empty] | CERS; https://cers.calepa.ca.gov
Hazardous Materials | San Diego | Train employees to make them familiar with proper hazardous material handling and emergency reponse procedures relevant to their responsibilities during normal facility operations and emergencies. | Annually |  | EHS | [13 empty] | TBD
Hazardous Materials | San Diego | Notify Cal/OES and the local CUPA immediately of any release or threatened release of a reportable quantity of a hazardous material, or any quantity of a hazardous material that poses a significant present or potential hazard to human health and safety, property, or the environment. | Episodic | Immediately | EHS | [12 empty] | Refer to 19 CCR 2631(b)(1-5) for the information to be included with the notification. | By Phone; Cal/OES: (800) 852-7550 or (916) 845-8911 CUPA: 911 or 858-505-6657 | 19 CCR 2631(b)(1-5)
Hazardous Materials | San Diego | If required, submit a written emergency release follow-up notice pursuant to 40 USC 11004(c), as amended, for any releases requiring an immediate notification to Cal/OES and the local CUPA. The follow-up notice must be sent to: Chemical Emergency Planning and Response Commission (CEPRC) 3650 Schriever Avenue Mather, CA 95655 | Episodic | Within 30 days | EHS | [12 empty] | Refer to 19 CCR 2632 for the information to be included with the follow-up notice. | By Postal Mail: Chemical Emergency Planning and Response Commission (CEPRC) 650 Schriever Avenue Mather, CA 95655 | 19 CCR 2632
Hazardous Waste | San Diego | Conduct inspections of hazardous waste container storage areas. | Weekly |  | TBD | [12 empty] | These inspections do not need to be documented; however, documenting the inspections is a best practice. | On Site | 22 CCR 66262.16(b)(2)(D) | bar: Jan 01 to Dec 12
Hazardous Waste | San Diego | Complete the facility's eVQ. | Annually | Within 60 days of the first notification (usually sent out in early July) | EHS | [12 empty] | The facilties have separate generator identification numbers; however, they could operate under a single generator identification number. Consolidation is recommended to avoid any issues of transferring waste from one generator to another at the facility. | Online: https://evq.dtsc.ca.gov/Home.aspx | HSC 25205.16(a) | bar: Jul 07 to Aug 08
Hazardous Waste | San Diego | Ship hazardous wastes from the facility using a registered hazardous waste transporter to a permitted TSDF. | At least every 180 days |  | EHS | [12 empty] | SQGs are required to ship hazardous waste within 180 days. LQGs are required to ship hazardous waste within 90 days. The facilities are expected to operate as SQGs and have voluntarily elected to schedule more frequent shipments to avoid scheduling crunches. The person signing the manifest on behalf of the generator must have DOT hazardous materials training. NOTE: Periodic cleanout of underground grease traps may cause the facilities to become LQGs for the respective months; a strategy to avoid becoming LQGs is recommended. | On Site | 22 CCR 66262.16(b) | bar: Feb 02; Jun 06; Oct 10
Hazardous Waste | San Diego | Ship universal wastes from the facility using an authorized transporter to an authorized recycling or disposal facility. | Annually | [14 empty] | NOTE: The facility is not expected to be subject to any other notification or reporting activities with respect to universal wastes (e.g., e-waste reporting, on-site treatment, etc.). | On Site | 22 CCR 66273.35(a) | bar: Oct 10
Hazardous Waste | San Diego | Ship non-exempt (larger than 5-gallon) empty containers to an authorized collection, reuse, or recycling facility. | Annually | [15 empty] | On Site | 22 CCR 66261.7(f) | bar: Oct 10
Hazardous Waste | San Diego | Submit a legible photocopy of the hazardous waste manifest to DTSC by mailing it to: DTSC Generator Manifests Department of Toxic Substances Control P.O. Box 400 Sacramento, CA 95812-0400 | Episodic | Within 30 days of shipment | EHS | [12 empty] | The generator may make a photocopy of the Generator's Initial Copy, but it must be legible. It may be necessary to make a photocopy of a different copy of the manifest (e.g., Destination Facility to Facility copy) if the Generator's Initial Copy is not legible. The generator is not required to submit a manifest copy to DTSC for manifests that begin as electronic manifests (i.e., the manifest number ends with "ELC"). It is best practice to send the manifest copy by certified mail or another trackable method, and to keep a copy of the received/read receipt with the manifest. | By Postal Mail: DTSC Generator Manifests Department of Toxic Substances Control P.O. Box 400 Sacramento, CA 95812-0400 | 22 CCR 66262.21(f) | bar: Feb 02; Jun 06; Oct 10
Hazardous Waste | San Diego | Contact the TSDF / destination facility if the return copy of the manifest has not been received within 35 days of shipment. | Episodic | Within 35 days of shipment | EHS | [12 empty] | The return copy of the manifest is the copy bearing the signature of the destination facility indicating receipt and acceptance of the waste shipment. | Received by Postal Mail; Use any means available to contact the TSDF. | 22 CCR 66262.42(a) | bar: Mar 03; Jul 07; Nov 11
Hazardous Waste | San Diego | File an exception report with DTSC at the address below if the facility has not obtain a return copy of the manifest within 60 days of shipment. DTSC Report Repository Generator Information Services Section P.O. Box 806 Sacramento, CA 95812-0806 | Episodic | Within 60 days of shipment. | EHS | [12 empty] | SQGs must file exception reports within 60 days. LQGs must file exception reports within 45 days. The facilities are expected to operate as SQGs. | By Postal Mail: DTSC Report Repository Generator Information Services Section P.O. Box 806 Sacramento, CA 95812-0806 | 22 CCR 66262.42(c) | bar: Apr 04; Aug 08; Dec 12
Hazardous Waste | San Diego | Train employees to make them familiar with proper waste handling and emergency procedures relevant to their responsibilities during normal facility operations and emergencies | Annually |  | EHS | [12 empty] | Training requirements are less prescriptive for SQGs. The facilities are expected to operate as SQGs. |  | 22 CCR 66262.16(b)(7)(C)
Hazardous Waste | San Diego | Train employees who sign hazardous waste manifests on DOT hazardous materials regulations (49 CFR 172 et seq.). | Every three years |  | EHS | [12 empty] | Alternatively, the facility may authorize the transporter to sign as the generator's agent. A formal agreement must be in place to utilize this option. |  | 49 CFR Part 172, Subpart H
Hazardous Waste | San Diego | For RCRA SQGs only: Re-notify DTSC of hazardous waste generation activities using USEPA form 8700-12. | Every four years | By September 1 beginning in 2024 | EHS | [12 empty] | The facilities are expected to operate as SQGs but it is unclear if they will be RCRA SQGs. | By Postal Mail | 22 CCR 66262.18(d)(1) | bar: Aug 08
Hazardous Waste | San Diego | Notify the NRC immediately in the event of a fire, explosion, or other release that could threaten human health outside the facility or when a spill has reached surface waters. | Episodic | Immediately | EHS | [12 empty] | Refer to 22 CCR 66262.16(b)(7)(D)3.a-e for information to include in the notification. | By Phone; NRC: (800) 424-8802 | 22 CCR 66262.16(b)(7)(D)3
Hazardous Waste | San Diego | Inspect hazardous waste storage areas, at least once prior to the rainy season and monthly during the rainy season. | Monthly |  | EHS | [14 empty] | County of San Diego Watershed Protection, Stormwater Management, and Discharge Control Ordinance SEC. 67.808a(7)(B)(v) | bar: Jan 01 to Dec 12
SPCC | San Diego | Review, revise (if necessary), and recertify the facility's SPCC Plan. | Every five years |  | EHS | [12 empty] | If technical changes are needed, the changes and plan must be recertified by a PE registered in the state of California. | On Site | 40 CFR 112.5(b)
SPCC | San Diego | Review, and if necessary, update the facility's APSA submittal in CERS. | Annually | By March 1, or other date stipulated by the CUPA | EHS | [13 empty] | CERS; https://cers.calepa.ca.gov | HSC 25270.6(a) | bar: Feb 02
SPCC | San Diego | Conduct monthly visual inspections of all SPCC-subject oil storage containers. | Monthly |  | EHS | [12 empty] | Inspections may be conducted by the facility's inspector. The facility is *not* required to use a certified tank inspector for the monthly inspections. Document the monthly inspections on Form # in the SPCC Plan. | On Site | 40 CFR 112.7(e) & SPCC Plan (ref. STI SP001, 7th Ed., Section 6) | bar: Jan 01 to Dec 12
SPCC | San Diego | Conduct annual AST integrity inspections of all SPCC-subject fixed bulk storage containers. | Annually | [14 empty] | Inspections may be conducted by the facility's inspector, but the inspector must be familiar with and capable of diagnosing problems with tank systems, including level and leak monitoring devices, appurtenances, etc.. The facility is *not* required to use a certified tank inspector for the monthly inspections. Document the annual integrity inspection on Form # in the SPCC Plan. | On Site | 40 CFR 112.7(e), 40 CFR 112.8(c)(6), & SPCC Plan (ref. STI SP001, 7th Ed., Section 6) | bar: Dec 12
SPCC | San Diego | Provide SPCC training to employees who handle oil. | Annually |  | EHS | [14 empty] | 40 CFR 112.7(f) | bar: Dec 12
SPCC | San Diego | Conduct periodic Formal External Inspections of aboveground bulk oil storage containers with capacities exceeding 5,000 gallons. | Every 20 years | [14 empty] | These inspections must be completed by a Certified Tank Inspector. | On Site | 40 CFR 112.7(e), 40 CFR 112.8(c)(6)
SPCC | San Diego | Amend the SPCC Plan whenever changes to the facility impacting oil storage occur. | Episodic | Within 6 months of the triggering changes | EHS | [12 empty] | Document changes to the SPCC Plan on table of revisions in the SPCC Plan. If the changes are of a technical nature, a PE must certify the SPCC Plan amendment. | On Site | 40 CFR 112.5(a,c)
Stormwater | San Diego | Retention of records. |  |  | EHS | [12 empty] | Paper or electronic records of documents required by this SWPPP will be retained for a minimum of five (5) years from the date generated or date submitted, whichever is later, for the following items: Employee Training Records; BMP Implementation Records; Spill and Clean-up Related Records; Records of Sampling and Analysis Information; Records of Visual Observations; Response to the observations including identification of SWPPP revisions if needed.Level 1 ERA Reports; Level 2 ERA Action Plan; Level 2 ERA Technical Report; and Annual Reports from SMARTS (checklist and any explanations). |  | SWPPP Section 1.8
Stormwater | San Diego | Monthly visually observe each drainage area. | Monthly |  | EHS | [12 empty] | Observer for the following: i. The presence or indications of prior, current, or potential unauthorized NSWDs and their sources; ii. Authorized NSWDs, sources, and associated BMPs to ensure compliance with Section IV.B.3; and, iii. Outdoor industrial equipment and storage areas, outdoor industrial activities areas, BMPs, and all other potential source of industrial pollutants. b. The monthly visual observations shall be conducted during daylight hours of scheduled facility operating hours and on days without precipitation. c. The Discharger shall provide an explanation in the Annual Report for uncompleted monthly visual observations. |  | IGP Section XI.A.1 | bar: Jan 01 to Dec 12
Stormwater | San Diego | Collect samples from and make visual observations of the first (1st) of at least two qualifying storm events (QSEs) during the first half of the reporting year. | Annually | By December 31 | Contractor | [12 empty] | A Qualifying Storm Event (QSE) is a precipitation event that: a. Produces a discharge for at least one drainage area; and, b. Is preceded by 48 hours with no discharge from any drainage area. Samples from each discharge location shall be collected within four (4) hours of: a. The start of the discharge; or, b. The start of facility operations if the QSE occurs within the previous 12-hour period (e.g., for storms with discharges that begin during the night for facilities with day-time operating hours). Sample collection is required during scheduled facility operating hours and when sampling conditions are safe in accordance with Section XI.C.6.a.ii. The Discharger shall analyze all collected samples for the following parameters: a. Total suspended solids (TSS) and oil and grease (O&G); b. pH (see Section XI.C.2); | On Site | IGP Sections XI.A.2 & XI.B.2 | bar: Aug 08; Oct 10
Stormwater | San Diego | Collect samples from and make visual observations of the second (2nd) of at least two qualifying storm events (QSEs) during the first half of the reporting year. | Annually | By December 31 | Contractor | [12 empty] | See above requirements. | On Site | IGP Sections XI.A.2 & XI.B.2 | bar: Aug 08; Oct 10
Stormwater | San Diego | Collect samples from and make visual observations of the first (1st) of at least two qualifying storm events (QSEs) during the second (2nd) half of the reporting year. | Annually | By June 30 | Contractor | [12 empty] | See above requirements. | On Site | IGP Sections XI.A.2 & XI.B.2 | bar: Feb 02; Apr 04
Stormwater | San Diego | Collect samples from and make visual observations of the second (2nd) of at least two qualifying storm events (QSEs) during the second (2nd) half of the reporting year. | Annually | By June 30 | Contractor | [12 empty] | See above requirements. | On Site | IGP Sections XI.A.2 & XI.B.2 | bar: Feb 02; Apr 04
Stormwater | San Diego | Conduct visual and analytical monitoring of any contained storm water prior to discharge. | Episodic | Before discharge | EHS | [12 empty] | Refer to Section 5 of the SWPPP for additional guidance on sampling and making visual observations. |  | IGP Section XI.B.4.b
Stormwater | San Diego | Submit all sampling and analytical results for all individual or Qualified Combined Samples via SMARTS within 30 days of obtaining all results for each sampling event. | Episodic | Within 30 days of receipt of final lab report | EHS | [12 empty] | b. The Discharger shall provide the method detection limit when an analytical result from samples taken is reported by the laboratory as a “non-detect" or less than the method detection limit. A value of zero shall not be reported. c. The Discharger shall provide the analytical result from samples taken that is reported by the laboratory as below the minimum level (often referred to as the reporting limit) but above the method detection limit. | SMARTS; https://smarts.waterboards.ca.gov/smarts/faces/SwSmartsLogin.xhtml | IGP Section XI.B.11 | bar: Jan 01; Jul 07
Stormwater | San Diego | Compare the monitoring results to the NAL values in Table 2 of the General Permit to determine whether a NAL has been exceeded for each applicable parameter. | During each sample event |  | EHS | [14 empty] | IGP Section XII.A. | bar: Feb 02; Apr 04; Aug 08; Oct 10
Stormwater | San Diego | If the sampling results indicate an exceedance of the NAL/TNAL the facility baseline status shall change to Level 1 status and complete an evalatuion, with the assistance of a QISP. | After obtaining Level 1 Status | October 1st | EHS | [12 empty] | Level 1 ERA Evaluation a. By October 1 following commencement of Level 1 status for any parameter with sampling results indicating an NAL/TNAL exceedance, the Discharger shall: b. Complete an evaluation, with the assistance of a QISP, of the industrial pollutant sources at the facility that are or may be related to the NAL/TNAL exceedance(s); and, c. Identify in the evaluation the corresponding BMPs in the SWPPP and any additional BMPs and SWPPP revisions necessary to prevent future NAL/TNAL exceedances and to comply with the requirements of this General Permit. Although the evaluation may focus on the drainage areas where the NAL/TNAL exceedance(s) occurred, all drainage areas shall be evaluated. |  | IGP Section XII.C.1 | bar: Oct 10
Stormwater | San Diego | After the Level 1 ERA Evaluation, revise the SWPPP and implement BMPs, Certify and Submit a Level 1 ERA Report prepared by a QISP in SMARTS, and certify and submit the QISPs ID number, name and contact information in SMARTS. | After conduction Level 1 ERA Evaluation | January 1st | EHS | [12 empty] | Level 1 ERA Report a. Based upon the above evaluation, the Discharger shall, as soon as practicable but no later than January 1 following commencement of Level 1 status: i. Revise the SWPPP as necessary and implement any additional BMPs identified in the evaluation; ii. Certify and submit via SMARTS a Level 1 ERA Report prepared by a QISP that includes the following: 1) A summary of the Level 1 ERA Evaluation required in subsection C.1 above; and, 2) A detailed description of the SWPPP revisions and any additional BMPs for each parameter that exceeded an NAL/TNAL. iii. Certify and submit via SMARTS the QISP’s identification number, name, and contact information (telephone number, e-mail address). |  | IGP Section XII.C.2 | bar: Jan 01
Stormwater | San Diego | If while in a Level 1 status, the sampling results indicate an exceedance of the NAL/TNAL the facility baseline status shall change to Level 2 status and shall certify and submit via SMARTS a Level 2 ERA Action Plan prepared by a QISP. | After sampling results indicated an exceedance as a Level 1 | January 1st | EHS | [12 empty] | Level 2 ERA Action Plan a. Dischargers with Level 2 status shall certify and submit via SMARTS a Level 2 ERA Action Plan prepared by a QISP that addresses each new Level 2 NAL/TNAL exceedance by January 1 following the reporting year during which the NAL/TNAL exceedance(s) occurred. For each new Level 2 NAL/TNAL exceedance, the Level 2 Action Plan will identify which of the demonstrations in subsection D.2.a through c the Discharger has selected to perform. A new Level 2 NAL/TNAL exceedance is any Level 2 NAL/TNAL exceedance for 1) a new parameter in any drainage area, or 2) the same parameter that is being addressed in an existing Level 2 ERA Action Plan in a different drainage area. b. The Discharger shall certify and submit via SMARTS the QISP’s identification number, name, and contact information (telephone number, e-mail address) if this information has changed since previous certifications. c. The Level 2 ERA Action Plan shall at a minimum address the drainage areas with corresponding Level 2 NAL/TNAL exceedances. d. All elements of the Level 2 ERA Action Plan shall be implemented as soon as practicable and completed no later than 1 year after submitting the Level 2 ERA Action Plan. e. The Level 2 ERA Action Plan shall include a schedule and a detailed description of the tasks required to complete the Discharger’s selected demonstration(s) as described below in Section D.2.a through c. |  | IGP Section XII.D.1 | bar: Jan 01
Stormwater | San Diego | Certify and submit a Level 2 ERA Technical Report prepared by a QISP on January 1 of the reporting year following the submittal of the Level 2 ERA Action Plan. | After conduction Level 2 ERA Evaluation | January 1st | EHS | [12 empty] | Level 2 ERA Technical Report On January 1 of the reporting year following the submittal of the Level 2 ERA Action Plan, a Discharger with Level 2 status shall certify and submit a Level 2 ERA Technical Report prepared by a QISP that includes one or more of the following demonstrations: a. Industrial Activity BMPs Demonstration b. Non-Inudstrial Pollutant Source Demonstration c. Natural Background Pollutant Source Demonstration |  | IGP Section XII.D.2 | bar: Jan 01
Stormwater | San Diego | Complete Annual Comprehensive Facility Compliance Evaluation, also known as the Annual Evaluation, including a facility inspection and a review of the facility records and the SWPPP. | Annually | Not less than 8 months or more than 16 months since the prior evaluation. | EHS | [12 empty] | At a minimum, Annual Evaluations shall consist of: A. A review of all sampling, visual observation, and inspection records conducted during the previous reporting year; B. An inspection of all areas of industrial activity and associated potential pollutant sources for evidence of, or the potential for, pollutants entering the storm water conveyance system; C. An inspection of all drainage areas previously identified as having no exposure to industrial activities and materials in accordance with the definitions in Section XVII; D. An inspection of equipment needed to implement the BMPs; E. An inspection of any BMPs; F. A review and effectiveness assessment of all BMPs for each area of industrial activity and associated potential pollutant sources to determine if the BMPs are properly designed, implemented, and are effective in reducing and preventing pollutants in industrial storm water discharges and authorized NSWDs; and, G. An assessment of any other factors needed to comply with the requirements in Section XVI.B. | On Site | IGP Section XV | bar: Jun 06
Stormwater | San Diego | Complete the storm water Annual Report in SMARTS. | Annually | By July 15 | EHS | [12 empty] | B. The Discharger shall include in the Annual Report: 1. A Compliance Checklist that indicates whether a Discharger complies with, and has addressed all applicable requirements of this General Permit; 2. An explanation for any non-compliance of requirements within the reporting year, as indicated in the Compliance Checklist; 3. An identification, including page numbers and/or sections, of all revisions made to the SWPPP within the reporting year; and, 4. The date(s) of the Annual Evaluation. | SMARTS; https://smarts.waterboards.ca.gov/smarts/faces/SwSmartsLogin.xhtml | IGP Section XVI | bar: Jul 07
Stormwater | San Diego | If necessary based on the ACFCE, revise, recertify, and resubmit the SWPPP as a COI in SMARTS. | Annually | Within 90 days of Annual Report | EHS | [13 empty] | SMARTS; https://smarts.waterboards.ca.gov/smarts/faces/SwSmartsLogin.xhtml | IGP Section XV | bar: Sep 09
Stormwater | San Diego | Update the SWPPP whenever significant changes to the facility's layout and/or storm water management practices change. Certify and submit the updated SWPPP in SMARTS within 30 days whenever the SWPPP contains significant revisions. | Episodic | Within 30 days | EHS | [13 empty] | SMARTS; https://smarts.waterboards.ca.gov/smarts/faces/SwSmartsLogin.xhtml | IGP Section X.B.2
Stormwater | San Diego | Pay the annual storm water fee. | Annually | See invoice | EHS | [12 empty] | Invoices are usually sent out to coincide with the annual reports, i.e., June-July of the RY. | See invoice | IGP Section II.B.1.c
Stormwater | San Diego | Administer storm water annually training to all site employees. | Annually |  | EHS | [12 empty] | (B) Training shall address the pollution and non-stormwater generating activities conducted at the facility, the pollutants or risk of non-stormwater discharge associated with those activities, and the BMPs or pollution prevention practices used to minimize or eliminate the discharge of non-stormwater and pollutants. (C) The following BMP categories shall be included in training ,where applicable: i. Preventive maintenance. ii. Good housekeeping. iii. Proper waste disposal. iv. Non-stormwater disposal alternatives. v. Equipment/vehicle maintenance and repair. vi. Spill response, containment, and recovery. vii. Recycling, re-use, and volume reduction in materials, water consumption and wastes. viii. BMP maintenance. | TBD | County of San Diego Watershed Protection, Stormwater Management, and Discharge Control Ordinance SEC. 67.808a(1)(A) | bar: Jun 06
Stormwater | San Diego | Review the operations and procedures relating to protecting the stormwater conveyance system and receiving waters from pollutants and prohibited, non-stormwater discharges at least annually. | Annually |  | EHS | [14 empty] | County of San Diego Watershed Protection, Stormwater Management, and Discharge Control Ordinance SEC. 67.808a(2) | bar: Jun 06
Stormwater | San Diego | Inspect the property for accumulations of debris, litter, waste, organic matter, such as leaves or cut grass or other materials. | Monthly |  | EHS | [12 empty] | Such accumulations shall be removed, transported and disposed of in accordance with this Chapter. |  | County of San Diego Watershed Protection, Stormwater Management, and Discharge Control Ordinance SEC. 67.808a(5)(A) | bar: Jan 01 to Dec 12
Stormwater | San Diego | Daily clean areas where work is being actively conducted using dry clean-up methods such as sweeping, wiping, vacuuming, or raking. | Daily |  | EHS | [12 empty] | Wet clean-up methods such as hosing may only be used if precautions have been taken to prevent the discharge of wash water or other materials to the stormwater conveyance system or receiving waters. |  | County of San Diego Watershed Protection, Stormwater Management, and Discharge Control Ordinance SEC. 67.808a(5)(B) | bar: Jan 01 to Dec 12
Stormwater | San Diego | Regulary clean paved surfaces such as sidewalks using dry clean up methods such as sweeping or vacuuming. | Monthly |  | EHS | [14 empty] | County of San Diego Watershed Protection, Stormwater Management, and Discharge Control Ordinance SEC. 67.808a(9)(B) | bar: Jan 01 to Dec 12
Stormwater | San Diego | Inspect and peform preventive maintenace on quipment such as emergency generators, HVAC systems and other similar items located on rooftops to prevent leaks and spills | Monthly |  | EHS | [14 empty] | County of San Diego Watershed Protection, Stormwater Management, and Discharge Control Ordinance SEC. 67.808a(9)(D) | bar: Jan 01 to Dec 12
Stormwater | San Diego | Apply for and obtain authorization from the water boards as required by the new general permit once issued to continue regulated activity under the General Permit . | Episodic |  | EHS | [14 empty] | IGP Section XXI.B
Wastewater | San Diego | The industrial user shall notify the IWCP immediately in the event of any accidental spill, non-customary batch discharge, or other slug discharge to the public sewerage system in violation of discharge prohibitions or standards. | Episodic | Immediately | EHS | [12 empty] | Immediate notification shall be made by contacting the IWCP Enforcement Supervisor, Permit Supervisor, or Program Manager at (858) 654-4100 from 8 am to 5 pm Monday through Friday, or (619) 527- 7500 / (619) 527-7660 at all other times, and submitting a written report within five calendar days to: Industrial Wastewater Control Program 9192 Topaz Way San Diego, CA 92123-1119 |  | 40 CFR 403.12(f), IWCP Standard Conditions Part D
Wastewater | San Diego | Notify the IWCP immediately of any changes at the facility affecting the potential for a Slug Discharge including, but not limited to, the installation of an automatic feed treatment system using chemicals stored in volumes greater than 55 gallons. | Episodic | Immediately | EHS | [12 empty] | Immediate notification shall be made by contacting the IWCP Enforcement Supervisor, Permit Supervisor, or Program Manager at (858) 654-4100 from 8 am to 5 pm Monday through Friday, or (619) 527- 7500 / (619) 527-7660 at all other times, and submitting a written report within five calendar days to: Industrial Wastewater Control Program 9192 Topaz Way San Diego, CA 92123-1119 |  | 40 CFR 403.8(f)(2)(vi), IWCP Standard Conditions Part E
Wastewater | San Diego | If known in advance of the need for a bypass that will result in noncompliance submit prior notice to the IWCP at least ten days before the date of the bypass. | Episodic | 10 days before bypass | EHS | [12 empty] | Industrial Wastewater Control Program 9192 Topaz Way San Diego, CA 92123-1119 |  | 41 CFR 403.8(f)(2)(vi), IWCP Standard Conditions Part F
Wastewater | San Diego | The industrial user shall notify the IWCP within 24 hours of becoming aware of an upset that results in noncompliance with categorical Pretreatment Standards, and a written submission. | Episodic | Within 24 hours | EHS / Corp. | [12 empty] | See the IWCP Appendix A and 40 CFR 403.16 for a list of upsets. |  | 40 CFR 403.16, IWCP Standard Conditions Part F & G
Wastewater | San Diego | The industrial user shall notify the IWCP, the EPA Regional Waste Management Division Director, the Director of the Department of Public Works, and State hazardous waste authorities in writing of any discharge into the POTW of a substance, which, if otherwise disposed of, would be a hazardous waste under 40 CFR part 261. | Episodic |  | EHS / Corp. | [12 empty] | The report must include the name of the hazardous waste as set forth in 40 CFR part 261, the EPA hazardous waste number, and the type of discharge ( continuous, batch, or other). See the full CFR text for additional reporting requirements for discharges of more than 100 kilograms of such waste per calendar month to the POTW. The notification requirement in this section does not apply to pollutants already reported under the self-monitoring requirements of 40 CFR 403 .12 (b ), ( d), and ( e ). |  | 40 CFR 403.12 (p)(l), IWCP Standard Conditions Part H, County of San Diego Watershed Protection, Stormwater Management, and Discharge Control Ordinance SEC. 67.806(d)
Wastewater | San Diego | The permittee shall give written notice to the IWCP 90 days prior to any facility expansion, production increase, or process modification which results in new discharges or a change in the volume or character of pollutants in the discharge or an increase or decrease of more than fifteen percent (15%) in the average daily process wastewater discharge volume. | Episodic | 90 days prior to change | EHS / Corp. | [12 empty] | Document changes in attachment F of the IWCP. |  | (40 CFR 403.12 (j), IWCP Standard Conditions Part J
Wastewater | San Diego | The permittee shall give written notice to the IWCP 30 days prior to any modification to the pretreatment system. | Episodic | 30 days prior to change | EHS / Corp. | [14 empty] | (40 CFR 403.12 (j), IWCP Standard Conditions Part J
Wastewater | San Diego | The permittee shall retain records of all monitoring information, including all calibration and maintenance records and all original strip chart recordings for continuous monitoring instrumentation, copies of all reports required by this permit, and records of all data used to complete the application for this permit, for a period of at least three years from the date of the sample, measurement, report or application. | Continuously |  | Maintenance | [14 empty] | 40 CFR 403.12 (o)(2), IWCP Standard Conditions Part K
Wastewater | San Diego | Review and/or update the Approved Slug Discharge Prevention and Control Plan on file with IWCP at least every two years. Notify the IWCP immediately of any changes affecting the potential for slug discharge and submit a copy of the revised plan to IWCP. | Bi-annually |  | EHS | [14 empty] | IWCP Discharge Standards Part F.1 | bar: Apr 04
Wastewater | San Diego | Notify the IWCP immediately of any changes affecting the potential for slug discharge and submit a copy of the revised plan to IWCP within 30 days. | Episodic | 30 days of making the change. | EHS | [14 empty] | IWCP Discharge Standards Part F.1
Wastewater | San Diego | Clean and calibrate pH probes used in the pretreatment system weekly. | Weekly |  | Wastewater Department | [12 empty] | Record the following information: 1. the date; 2. description of maintenance or calibration activities performed; 3. the expiration date for each standard solution; 4. calibration pH measurements taken in the standard buffer solutions; 5. description of any problems detected and corrective actions taken; and 6. the operator initials |  | IWCP Discharge Standards Part F.2 | bar: Jan 01 to Dec 12
Wastewater | San Diego | Read the totalizing flow meter serving production and cleaning operations at a frequency that ensure accurate average daily flow calculations at least monthly. | Monthly |  | Wastewater Department | [12 empty] | Record the following information: 1. meter reading; 2. read date; and 3. calculated periodic consumption |  | IWCP Discharge Standards Part F.3 | bar: Jan 01 to Dec 12
Wastewater | San Diego | If performing pH self analysis, develop and implement a pH Self-Monitoring Standard Operating Procedure. | One Time | July 1st 2022 | EHS | [14 empty] | IWCP Discharge Standards Part F.5
Wastewater | San Diego | Maintain accurate records of all monitoring activities. |  |  | EHS | [12 empty] | Records include: a. the date, exact location, method, and time of sampling, and the names of the person or persons taking such samples; b. the date analyses were performed; c. name of person(s) performing such analyses; d. the analytical techniques/methods used; e. the results of those analyses; and for batch discharges f. the actual date(s) of discharge when different from the sampling date. |  | IWCP Self-Monitoring and Reporting Requirements Part C | bar: Jan 01 to Dec 12
Wastewater | San Diego | Repeat the sampling and analyses for characteristics or pollutants required by permit in violation, and submit the results to the Compliance Supervisor with 30 days of becoming aware of the violation. | Episodic | 30 days after submitting a violation notice | EHS | [14 empty] | IWCP Self-Monitoring and Reporting Requirements Part E
Wastewater | San Diego | Representative wastewater samples are to be collected from the sample box located 70 feet from the west side of the building and east of the fire hydrant. | Monthly | the 15th day of the following month. | Refrigeration | [12 empty] | Submit results to the Compliance Supervisor: Industrial Wastewater Control Program 9192 Topaz Way San Diego, CA 92123-1119 |  | IWCP Self-Monitoring and Reporting Requirements Part F | bar: Jan 01 to Dec 12
Wastewater | San Diego | Submit Monthly Self-Monitoring Reports including: Beginning meter read and date Ending meter read and date Average flow/calendar day thru connection pH- instantaneous Chemical oxygen demand Oil and grease, total- instantaneous Sulfides, dissolved, instantaneous Solids, total dissolved Temperature, instantaneous Solids, total suspended Chloride, total | Monthly | the 15th day of the following month. | EHS | [12 empty] | Submit to the Compliance Supervisor: Industrial Wastewater Control Program 9192 Topaz Way San Diego, CA 92123-1119 |  | IWCP Self-Monitoring and Reporting Requirements Part F | bar: Jan 01 to Dec 12
Wastewater | San Diego | PLACEHOLDER: NEED TO INCORPORATE WWTS OPERATING REQUIREMENTS.
ZZ INSERT NEW LINES ABOVE HERE

## Training
Topic | Site | Training Content | Target Personnel | Frequency | Method | Notes
Hazardous Materials | Both | Hazardous materials and hazards identification (Hazard Communication) | Chemical handling personnel | Annually
Hazardous Materials | Both | Hazardous materials storage, transfer, and handling techniques and spill/release prevention | Chemical handling personnel | Annually
Hazardous Materials | Both | Hazardous materials spill/leak/release emergency response | Chemical handling personnel | Annually
Hazardous Materials | Both | Hazardous materials reporting | EHS | Annually
Hazardous Waste | Both | Hazardous waste identification and management | Waste handling personnel | Annually | ILT
Hazardous Waste | Both | Hazardous waste spill/leak/release emergency response | Waste handling personnel | Annually | ILT
Hazardous Waste | Both | Universal waste identification and management | Waste handling personnel | Annually | ILT
Hazardous Waste | Both | Universal waste spill/leak/release emergency response | Waste handling personnel | Annually | ILT
Hazardous Waste | Both | Empty container management | Waste handling personnel | Annually | ILT
Hazardous Waste | Both | Hazardous and universal reporting | EHS | Annually | ILT
Hazardous Waste | Both | DOT hazardous materials training | Personnel who sign hazardous waste manifests and other shipping documents | Every 3 years | WBT
SPCC | Joint | Oil spill/leak/release emergency response | All site personnel | Annually
SPCC | Joint | Oil reporting | EHS | Annually
SPCC | Joint | Oil storage, transfer, and handling techniques | Oil-handling personnel | Annually
Storm Water | Joint | Storm water permitting awareness and BMPs | All site personnel | Annually |  | Must be provided by a QISP if the facility is at ERA Level 1 or 2 status.
Storm Water | Joint | Storm water reporting | EHS | Annually |  | Must be provided by a QISP if the facility is at ERA Level 1 or 2 status.
Storm Water | Joint | Storm water monitoring | Personnel who collect samples, make visual observations (sampling event and monthly dry weather), and conduct other storm water inspections | Annually |  | Must be provided by a QISP if the facility is at ERA Level 1 or 2 status.
Wastewater | Both | Slug discharge prevention, control, and response | All site personnel | Annually
Wastewater | Both | Wastewater reporting | EHS | Annually
Wastewater | Alpine | Wastewater treatment system operations | Wastewater treatment personnel | TBD
TRAINING METHOD KEY
WBT | Web-Based Trainining
OJT | On-the-Job Training
ILT | Instructor-Led Training
RST | Read and Sign Training

## StatusKey
Code | Status
X | Planned
P | In Progress / On Schedule
O | In Progress / Running Behind
C | Completed
D | Past Due

## Abbreviations
ABBR. | MEANING
ACFCE | (Storm Water) Annual Comprehensive Facility Compliance Evaluation (aka "Annual Evaluation")
AFNA | Ajinomoto Foods North America
APCE | Air Pollution Control Equipment
APCO | Air Pollution Control Officer
APSA | California Aboveground Petroleum Storage Ast ["app-suh"]
AST | Aboveground Storage Tank
BAAQMD | Bay Area Air Quality Management District
CAA | Federal Clean Air Act
Cal/EPA | Califoria Environmental Protection Agency
Cal/OES | California Governor's Office of Emergency Services
Cal/OSHA | California Division of Occupational Safety and Health ["kal-oh-shuh"]
CARB | California Air Resources Board ["karb"]
CCR | California Code of Regulations
CERCLA | Federal Comprehensive Environmental Response, Compensation, and Liability Act ["sir-kluh"]
CERCP | Consolidated Emergency Response and Contingency Plan
CERS | California Environmental Reporting System ["sirz"]
CFC | California Fire Code
CFR | Code of Federal Regulations
COI | Change of Information
CUPA | Certified Unified Program Agency ["koo-puh"]
CWA | Federal Clean Water Act
DAR | Duly Authorized Representative
DEP | Data Entry Person
DOT | United States Department of Transportation
DTSC | California Department of Toxic Substances Control
EAP | Emergency Action Plan
EHS | Environmental, Health, and Safety
EHS | Extremely Hazardous Substance
EPCRA | Federal Emergency Planning and Community Right-to-Know Act ["epp-kruh"]
ERA | Exceedance Response Actions
ERP | Emergency Response Plan
ETP | Employee Training Plan
eVQ | Electronic Verification Questionnaire
GHG | Greenhouse Gas
Hazmat | Hazardous Materials
HFD | Hayward Fire Department
HGWP | High Global Warming Potential
HMBP | Hazardous Materials Business Plan
HMI | Hazardous Materials Inventory
HMMP | Hazardous Materials Management Plan
HSC | California Health and Safety Code
HVAC | Heating, Venting, and Air Conditioning ["aych-vack"]
HW | Hazardous Waste
IGP | (Storm Water) Industrial General Permit (aka SWRCB Order No. 2014-0057-DWQ, as amended by Order Nos. 2015-0122-DWQ and 2018-0028-DWQ, General Permit for Storm Water Discharges Associated with Industrial Activities, NPDES Permit No. CAS000001)
LQG | Large Quantity Generator
LRP | Legally Responsible Person
NEC | No Exposure Certification
NOI | Notice of Intent
NONA | Notice of Non-Applicability ["no-nuh"]
NPDES | National Pollutant Discharge Elimination System ["nip-deez"]
NRC | United States National Response Center
NSWD | Non-Storm Water Discharge
NTDR | No Discharge Technical Report
ODS | Ozone-Depleting Substances
OSFM | California Office of the State Fire Marshal
OSHA | United States Occupational Safety and Health Administration ["oh-shuh"]
POTW | Publicly Owned Treatment Works
PPT | Pollution Prevention Team
QISP | Qualified Industrial Stormwater Practitioner ["kwisp"]
RCRA | Federal Resource Conservation and Recovery Act ["rick-ruh"]
RWQCB | Regional Water Quality Control Board
SARA | Federal Superfund Amendments and Reauthorization Act ["sarah"]
SMARTS | Stormwater Multiple Application and Reporting Tracking System ["smarts"]
SPCC | Spill Prevention, Control, and Countermeasure(s)
SQG | Small Quantity Generator
STI | Steel Tank Institute
SWPPP | Storm Water Pollution Prevention Plan ["swip"]
SWRCB | California State Water Resources Control Board
TPQ | Threshold Planning Quantity
TRI | Toxics Release Inventory
TSDF | Treatment, Storage, and/or Disposal Facility
USEPA | United States Environmental Protection Agency
UST | Underground Storage Tank
UW | Universal Waste
UWH | Universal Waste Handler
VSQG | Very Small Quantity Generator
WQBCA | Water Quality Based Corrective Actions
WWTS | Wastewater Treatment System

## PriorExamples
Topic | Site | Activity | Frequency | Due Date | Responsible Party | Jan 01 | Feb 02 | Mar 03 | Apr 04 | May 05 | Jun 06 | Jul 07 | Aug 08 | Sep 09 | Oct 10 | Nov 11 | Dec 12 | Notes | Location
Air |  | R22/Freon Management - Annual leak inspections - small systems | Annual: Jan | [14 empty] | Alpine: Tunnel Freezer, Veggie Cooler American: Blast Freezer, Chicken Thaw Room, Veggie Cooler; required for the following if not mothballed: Cooling Tunnel, Dock Freezer #1, Dock Freezer #2 | EHS Files, CARB R3 online system, Sam Yorke (Resource Compliance, Inc.) | bar: Jan 01
Air |  | R22/Freon Management - Annual Leak Detection calibration (both buildings) | Annual | [14 empty] | Minimum of annual calibration, but history shows this was done biannually (last was Sep 2023, next to be done: Mar 2024, Sep 2024). | EHS Files, CARB R3 online system, Sam Yorke (Resource Compliance, Inc.)
Air |  | R22/Freon Management - Quarterly Leak Inspections - medium and large systems | Quarterly | [14 empty] | Alpine: Spiral Freezer, Cabin Plant Production #1, Cabin Plant Production #2, Packaging Room American: Line 1 Spiral Freezer, Dock Freezer North Unit; required for the following if not mothballed: Line 2 Spiral Freezer | EHS Files, CARB R3 online system, Sam Yorke (Resource Compliance, Inc.) | bar: Jan 01
Air |  | R22/Freon Management - Leak Repairs – Any leak and repair need to be documented in the R3 portal. Repairs must be made within 14 days. There are exemptions for longer time frames. | Incidental; Report in R3 immediately upon the change | [14 empty] | Jan 2024 was last inspection and did not show any leaks. | EHS Files, CARB R3 online system, Sam Yorke (Resource Compliance, Inc.)
Air |  | R22/Freon Management - Retrofitting of any refrigeration systems – If a system is changed over to a different refrigerant type, that needs to be documented in the R3 portal. | Report in R3 immediately upon the change | [14 empty] | N/A | EHS Files, CARB R3 online system, Sam Yorke (Resource Compliance, Inc.)
Air |  | R22/Freon Management - New Systems/Facilities OR Shutdown of Existing Systems/Facilities – If you install a new system or obtain a new facility, those obviously have to be added to your R3 portal as well. The reverse also applies. If you remove or shutdown a system/facility, that will also need to be documented. | Report in R3 immediately upon the change | [14 empty] | N/A | EHS Files, CARB R3 online system, Sam Yorke (Resource Compliance, Inc.)
Air |  | Complete Air Emissions Calculations to Verify Permit Status (Annual) |  |  | EHS | [13 empty] | EHS Files
Air |  | Collect monthly production volume of eggrolls from Alpine for air permit. | Monthly |  | EHS | [12 empty] | Obtain monthly Alpine eggroll production volume from Tina Lau/Plant Controller and monthly bills to obtain therms for the month. Input into air emissions spreadsheet.
Hazardous Materials/Hazardous Waste |  | Hazardous Waste Inspections | Weekly |  | EHS | 0/4 | 0/4 | 0/4 | 0/4 | 0/5 | 0/4 | 0/5 | 0/4 | 0/4 | 0/5 | 0/4 | 0/4 | Each month will have 4 or 5 weeks. Use designated form to complete inspection of Central Waste Accumulation Area(s). | EHS Files
Hazardous Materials/Hazardous Waste |  | Hazardous Waste shipping documentation | As needed |  | EHS | [12 empty] | Coordinate with necessary waste vendors. Manage shipments of hazardous waste; document shipments on monthly basis to assess hazardous waste status (SQG) | EHS Files
Hazardous Materials/Hazardous Waste |  | Tier II/Submission of Hazardous Materials Business Plan (HMBP) and Recertification to CUPA | Annual: Mar (Alpine) and Apr (American) | [14 empty] | CA-specific applicability thresholds: 55 gal, 500 lbs, 200 scf, TPQ for EHS | bar: Apr 04
Hazardous Materials/Hazardous Waste |  | Update HMBP | Within 30 days of change |  | EHS | [12 empty] | Update plant HMBP when any of the following occur: 100% increase in reported material, adding new material, change in information.
Hazardous Materials/Hazardous Waste |  | DTSC Electronic Verification Questionnaire | Annual (Jun/Jul) |  | EHS | [12 empty] | DTSC will send a notification in Jun or Jul when to renew. | EHS Files, DTSC EVQ website: https://evq.dtsc.ca.gov/
Hazardous Materials/Hazardous Waste |  | Hazardous Waste Employee Training (in-person, site-specific) | Annual |  | EHS | [12 empty] | Site training for handlers, inspectors, generators | EHS Files
Hazardous Materials/Hazardous Waste |  | Waste - RCRA Training (can be online) | Annual |  | EHS | [12 empty] | Site training for EHS and designated staff | EHS Files
Hazardous Materials/Hazardous Waste |  | DOT Training (can be online) | Every 3 years |  | EHS | [12 empty] | Site training for EHS and designated staff to sign hazardous waste manifests | EHS Files
Hazardous Materials/Hazardous Waste |  | EPCRA - California Hazardous Materials Business Plan (SARA 312 Tier II Report & Fee) (Annual) | Annual |  | EHS | [12 empty] | Due 3/1. Electronically submit to CERS. Must submit COPIES of reports to local emergency planning agency and the fire department. | EHS Files, CERS | bar: Mar 03
Hazardous Materials/Hazardous Waste |  | Review Waste Records: Determination Forms, Waste Instructions, and Profiles; Universal Waste (batteries & lamps) Shipments (Annual) |  |  | EHS | [12 empty] | Plan review - Internal deadline 10/31 | EHS Files
Hazardous Materials/Hazardous Waste |  | Calculations and documentation for EPCRA TRI/Form R | Annual |  | EHS | [12 empty] | Due every July 1st.
Oil |  | Spill Prevention, Control, and Countermeasure (SPCC) plan recertification | Every 5 years |  | EHS | [12 empty] | 5 years from plan certification by P.E. (if there are more than administrative changes) | EHS Files
Oil |  | AST inspections | Annual |  | EHS | [12 empty] | Annual tank inspection forms located in SPCC plan. | EHS Files
Oil |  | SPCC Inspections | Monthly |  | Maintenance | [14 empty] | Minimum 5 years. Records include, but are not limited to: -All registration information required by section 95383. -Documentation of all leak detection systems, leak inspections, and automatic leak detection system annual audit and calibrations required by section 95385. -Records of all refrigeration system service and refrigerant leak repairs, and documentation of any conditions allowing repair of a refrigerant leak to be conducted more than 14 days after leak detection, as required pursuant to section 95386. Refrigeration system and refrigeration system service and refrigerant leak repair records must include documentation of all items reported pursuant to section 95388. -Any retrofit or retirement plans required by section 95387. -All reports required by section 95388. -Invoices of all refrigerant purchases. -Records of all shipments of refrigerants for reclamation or destruction, which must include the following information: o Name and address of the person the high-GWP refrigerant was shipped to. o Weight in pounds of high-GWP refrigerant shipped. o Type of high-GWP refrigerant shipped. o Date of shipment. o Purpose of shipment (e.g. reclamation, destruction, etc.).
Stormwater |  | Stormwater Sampling & Sampling Event Visual Observation(s) 4 Total - Two Samples from Jul 1- Dec 31, Two Samples from Jan 1- June 30 |  |  | EHS - Outsourced to EDC | [12 empty] | Sampling Requirements have been met for the 2023-2024 reporting year. Samples have been collected with no exceedances and certified in SMARTS on time. | EHS Files, SMARTs | bar: Jan 01 to Mar 03
Stormwater |  | Storm Water Dry Weather Inspection | Monthly |  | EHS - Outsourced to EDC | [12 empty] | Outsouced to Environmental.com (EDC). Contact person: Justin Vargas. Sampling Requirements have been met for the 2023-2024 reporting year. Samples have been collected with no exceedances and certified in SMARTS on time. | EHS Files, SMARTs | bar: Jan 01 to Apr 04
Stormwater |  | Within 30 days of receipt, Ad Hoc Report must be prepared with lab data in SMARTs. Bi-annual, for each Qualifying Storm Event Sampled. | Bi-annual |  | EHS - Outsourced to EDC | [12 empty] | All Sampling Results have been certified on time. Sample collection dates: 12/06/23, 12/18/23, 01/19/24, 01/31/24. Sample certification date: 12/22/23, 01/03/24, 02/23/24, 03/20/24 | EHS Files, SMARTs | bar: Jan 01 to Mar 03
Stormwater |  | Update Record of Reportable Spills (Annual, Spill Records Reported in Annual Report) | Annual |  | EHS - Outsourced to EDC | Jan 01: Compliant | Compliant/no applicable spills to date | EHS Files, SMARTs
Stormwater |  | Comprehensive Facility Compliance Evaluation - due July 1 |  |  | EHS - Outsourced to EDC | [12 empty] | Initially planned for completion tomorrow (4/23). Per my conversation with James, this will be pushed back to May, which is still prior to the due date. Documents requested - last 5 years of: monthly observations, reports from samples, previous ACFCE. If not found, NOV and fee may be issued. Monica to look into documents when on-site. | EHS Files, SMARTs
Stormwater |  | Personnel Training |  |  | EHS - Outsourced to EDC | [12 empty] | Initially planned for completion tomorrow (4/23). Per my conversation with James, this will be pushed back to May, which is still prior to the due date. | EHS Files, SMARTs
Stormwater |  | Annual Water Quality Fee Payment - due April |  |  | EHS - Outsourced to EDC | [12 empty] | Plant will receive this via snail mail. | EHS Files, SMARTs
Stormwater |  | Annual Report via SMARTs - due within 90 days of annual evaluation |  |  | EHS - Outsourced to EDC | [12 empty] | Justin to send instructions to Monica. | EHS Files, SMARTs
Stormwater |  | SWPPP Amendments (revisions) - due within 90 days of annual evaluation or 30 days of significant revision |  |  | EHS - Outsourced to EDC | [12 empty] | Once James receives E-Authorization for LRP, Justin can start making SWPPP Amendments. | EHS Files, SMARTs
Water |  | SPCC, Wastewater, Storm Water Employee Training (Annual) |  |  | EHS | [12 empty] | Site training for inspectors, shipping & receiving dept., maintenance dept. | EHS Files
Water |  | Slug Control Plan (Annual) |  |  | EHS | [12 empty] | Plan review | EHS Files
|  | EPCRA - California Hazardous Materials Business Plan - Submit Emergency Response Plan and training records | Annual |  | EHS | [12 empty] | Updated ERP as needed and provide previous year's training records. | EHS Files, CERS | bar: Jun 06
|  | EPCRA - Tier II and TRI Employee Training (Annual) |  |  | EHS | [13 empty] | EHS Files
|  | EPCRA - SARA 313 Form R Report (Annual) |  |  | EHS | [12 empty] | Due 7/1. Submit via EPX CDX's TRI-ME Web program. Automatically sent to EPA and IEPA once submitted & certified. | EHS Files
|  | DOT - HazMat DOT Re-Certification (Annual) |  |  | EHS | [12 empty] | Due 7/1. Complete and submit registration and fee as offerer of hazardous materials for DOT certification. | EHS Files
|  | Air - Review Natural Gas Equipment Inventory (Annual) |  |  | EHS | [13 empty] | EHS Files
|  | Chemical - SDS Review. Chemical Inventory Review. (Annual) |  |  | EHS | [12 empty] | Confirm SDS's are on file for any new chemicals on-site. | EHS Files
|  | Air - Obtain Copies of HVAC Technician Licenses (Review Annually) |  |  | EHS | [12 empty] | Obtain copies of technician licenses as needed; never expire | EHS Files
|  | Water - Wastewater Meter Readings (Daily) |  |  | WWT Operators | [12 empty] | logged electronically | EHS Files
|  | Calibration - WWT System pH probes (2) (Weekly) |  |  | Maintenance | 0/4 | 0/4 | 0/4 | 0/4 | 0/5 | 0/4 | 0/5 | 0/4 | 0/4 | 0/5 | 0/4 | 0/4 | Completed by Maintenance. Each month will have 4 or 5 weeks. | Maintenance Dept. Records
|  | Water- WWT System - Change the air filter on control panel (Monthly) |  |  | Maintenance | [13 empty] | Maintenance Dept. Records
|  | Water- WWT System - Cleaning of System Tanks (Quarterly) |  |  | Maintenance | [12 empty] | Cleaning of pH adjustment tank, oil/water separator, and effluent tank | Maintenance Dept. Records
|  | ERCP review with external agencies (BMP to review Semi-Annually) |  |  | EHS | [12 empty] | Review Emergency Action Plan, Emergency Contingency and Spill Response Plan update and distribute as necessary | EHS Files