## Sheet1
2025-01-01 | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
|  |  |  | 1 | 2 | 3 | 4
Annual: Air: -Annual tune-ups for the three boilers on-site. -Verify the fuel burned contains no more than 10 grains of sulfur compounds, calculated as hydrogen sulfide, per 100 cubic feet of dry gaseous fuel at standard conditions. -Conduct periodic maintenance of the engine and add-on control equipment as recommended by the engin and control equipment manufacturers. Hazardous Materials: -Train employees to make them familiar with proper hazardous material handling and emergency reponse procedures relevant to their responsibilities during normal facility operations and emergencies. Hazardous Materials: -Ship universal wastes from the facility using an authorized transporter to an authorized recycling or disposal facility. -Ship non-exempt (larger than 5-gallon) empty containers to an authorized collection, reuse, or recycling facility. -Train employees to make them familiar with proper waste handling and emergency procedures relevant to their responsibilities during normal facility operations and emergencies SPCC: -Conduct annual AST integrity inspections of all SPCC-subject fixed bulk storage containers. -Provide SPCC training to employees who handle oil. Stormwater: -Pay the annual storm water fee. -Administer storm water annually training to all site employees. -Review the operations and procedures relating to protecting the stormwater conveyance system and receiving waters from pollutants and prohibited, non-stormwater discharges at least annually. Bi-Annualy: Wastewater: -Review and/or update the Approved Slug Discharge Prevention and Control Plan on file with IWCP at least every two years. Notify the IWCP immediately of any changes affecting the potential for slug discharge and submit a copy of the revised plan to IWCP. Monthly: Air: -Track the hours of operation for the emergency engine to ensure operation for non-emergency purposes does not exceed 52 hours per calendar year. -Maintain a monthly operating log for the engine containing the dates and times of operation, documentation/description of the power outage, total cumulative hours of operation per calendar year, records of maintenance, and hours for all other uses. Hazardous Waste: -Inspect hazardous waste storage areas, at least once prior to the rainy season and monthly during the rainy season. SPCC: -Conduct monthly visual inspections of all SPCC-subject oil storage containers. Stormwater: -Monthly visually observe each drainage area. -Inspect the property for accumulations of debris, litter, waste, organic matter, such as leaves or cut grass or other materials. -Regulary clean paved surfaces such as sidewalks using dry clean up methods such as sweeping or vacuuming. -Inspect and peform preventive maintenace on quipment such as emergency generators, HVAC systems and other similar items located on rooftops to prevent leaks and spills Wastewater: -Read the totalizing flow meter serving production and cleaning operations at a frequency that ensure accurate average daily flow calculations at least monthly. Weekly: Hazardous Waste: -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 5 | 6 | 7 | 8 | 9 | 10 | 11
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 12 | 13 | 14 | 15 | 16 | 17 | 18
|  | Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly. |  | Monthly, 15th day of the month: Wastewater: -Representative wastewater samples are to be collected from the sample box located 70 feet from the west side of the building and east of the fire hydrant. -(Submit Monthly Self-Monitoring Reports including: Beginning meter read and date Ending meter read and date Average flow/calendar day thru connection pH- instantaneous Chemical oxygen demand Oil and grease, total- instantaneous Sulfides, dissolved, instantaneous Solids, total dissolved Temperature, instantaneous Solids, total suspended Chloride, total)
| 19 | 20 | 21 | 22 | 23 | 24 | 25
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 26 | 27 | 28 | 29 | 30 | 31
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
2025-02-01 | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
1
| 2 | 3 | 4 | 5 | 6 | 7 | 8
Monthly: Air: -Track the hours of operation for the emergency engine to ensure operation for non-emergency purposes does not exceed 52 hours per calendar year. -Maintain a monthly operating log for the engine containing the dates and times of operation, documentation/description of the power outage, total cumulative hours of operation per calendar year, records of maintenance, and hours for all other uses. Hazardous Waste: -Inspect hazardous waste storage areas, at least once prior to the rainy season and monthly during the rainy season. SPCC: -Conduct monthly visual inspections of all SPCC-subject oil storage containers. Stormwater: -Monthly visually observe each drainage area. -Inspect the property for accumulations of debris, litter, waste, organic matter, such as leaves or cut grass or other materials. -Regulary clean paved surfaces such as sidewalks using dry clean up methods such as sweeping or vacuuming. -Inspect and peform preventive maintenace on quipment such as emergency generators, HVAC systems and other similar items located on rooftops to prevent leaks and spills Wastewater: -Read the totalizing flow meter serving production and cleaning operations at a frequency that ensure accurate average daily flow calculations at least monthly. Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 9 | 10 | 11 | 12 | 13 | 14 | 15
|  | Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly. |  |  |  | Monthly, 15th day of the month: Wastewater: -Representative wastewater samples are to be collected from the sample box located 70 feet from the west side of the building and east of the fire hydrant. -(Submit Monthly Self-Monitoring Reports including: Beginning meter read and date Ending meter read and date Average flow/calendar day thru connection pH- instantaneous Chemical oxygen demand Oil and grease, total- instantaneous Sulfides, dissolved, instantaneous Solids, total dissolved Temperature, instantaneous Solids, total suspended Chloride, total)
| 10 | 17 | 18 | 19 | 20 | 21 | 22
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 23 | 24 | 25 | 26 | 27 | 28
|  | Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly. |  |  |  | Annual on Feb 28: Air: -Renew Air Permit for the three medium boilers. -Renew Air Permit for corn silo. -Renew Air Permit for wheat flour silo #1. -Renew Air Permit for wheat flour silo #2. -Renew Air Permit for the emergency generator.
2025-03-01 | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
1
| 2 | 3 | 4 | 5 | 6 | 7 | 8
Monthly: Air: -Track the hours of operation for the emergency engine to ensure operation for non-emergency purposes does not exceed 52 hours per calendar year. -Maintain a monthly operating log for the engine containing the dates and times of operation, documentation/description of the power outage, total cumulative hours of operation per calendar year, records of maintenance, and hours for all other uses. Hazardous Waste: -Inspect hazardous waste storage areas, at least once prior to the rainy season and monthly during the rainy season. SPCC: -Conduct monthly visual inspections of all SPCC-subject oil storage containers. Stormwater: -Monthly visually observe each drainage area. -Inspect the property for accumulations of debris, litter, waste, organic matter, such as leaves or cut grass or other materials. -Regulary clean paved surfaces such as sidewalks using dry clean up methods such as sweeping or vacuuming. -Inspect and peform preventive maintenace on quipment such as emergency generators, HVAC systems and other similar items located on rooftops to prevent leaks and spills Wastewater: -Read the totalizing flow meter serving production and cleaning operations at a frequency that ensure accurate average daily flow calculations at least monthly. Annual Due on Mar 1st:(Moved to Mar 3rd, due to weekend): EPCRA: -Review Chemcial Inventories and submit Tier II to state and local agencies as required. Hazardous Materials: ( Update and/or recertify the HMBP, including: -Update Facility Information element (Business Activities and Business Owner/Operator Information) -Update Hazardous Materials Inventory element (HMI and Site Maps) -Update Emergency Response and Training Plans element (CERCP and ETP) ) -Review, modify if necessary, and pay the CUPA invoice. SPCC: -Review, and if necessary, update the facility's APSA submittal in CERS. Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 9 | 10 | 11 | 12 | 13 | 14 | 15
|  | Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly. |  |  |  | Monthly, 15th day of the month: Wastewater: -Representative wastewater samples are to be collected from the sample box located 70 feet from the west side of the building and east of the fire hydrant. -(Submit Monthly Self-Monitoring Reports including: Beginning meter read and date Ending meter read and date Average flow/calendar day thru connection pH- instantaneous Chemical oxygen demand Oil and grease, total- instantaneous Sulfides, dissolved, instantaneous Solids, total dissolved Temperature, instantaneous Solids, total suspended Chloride, total)
| 16 | 17 | 18 | 19 | 20 | 21 | 22
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 23 | 24 | 25 | 26 | 27 | 28 | 29
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 30 | 31
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
2025-04-01 | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
|  |  | 1 | 2 | 3 | 4 | 5
|  |  | Monthly: Air: -Track the hours of operation for the emergency engine to ensure operation for non-emergency purposes does not exceed 52 hours per calendar year. -Maintain a monthly operating log for the engine containing the dates and times of operation, documentation/description of the power outage, total cumulative hours of operation per calendar year, records of maintenance, and hours for all other uses. Hazardous Waste: -Inspect hazardous waste storage areas, at least once prior to the rainy season and monthly during the rainy season. SPCC: -Conduct monthly visual inspections of all SPCC-subject oil storage containers. Stormwater: -Monthly visually observe each drainage area. -Inspect the property for accumulations of debris, litter, waste, organic matter, such as leaves or cut grass or other materials. -Regulary clean paved surfaces such as sidewalks using dry clean up methods such as sweeping or vacuuming. -Inspect and peform preventive maintenace on quipment such as emergency generators, HVAC systems and other similar items located on rooftops to prevent leaks and spills Wastewater: -Read the totalizing flow meter serving production and cleaning operations at a frequency that ensure accurate average daily flow calculations at least monthly. |  |  | Due on Apr 5, 2025: Air: Complete and submit air emissions inventory.
| 6 | 7 | 8 | 9 | 10 | 11 | 12
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 13 | 14 | 15 | 16 | 17 | 18 | 19
|  | Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly. | Monthly, 15th day of the month: Wastewater: -Representative wastewater samples are to be collected from the sample box located 70 feet from the west side of the building and east of the fire hydrant. -(Submit Monthly Self-Monitoring Reports including: Beginning meter read and date Ending meter read and date Average flow/calendar day thru connection pH- instantaneous Chemical oxygen demand Oil and grease, total- instantaneous Sulfides, dissolved, instantaneous Solids, total dissolved Temperature, instantaneous Solids, total suspended Chloride, total)
| 20 | 21 | 22 | 23 | 24 | 25 | 26
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 27 | 28 | 29 | 30
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
2025-05-01 | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
[5 empty] | 1 | 2 | 3
Monthly: Air: -Track the hours of operation for the emergency engine to ensure operation for non-emergency purposes does not exceed 52 hours per calendar year. -Maintain a monthly operating log for the engine containing the dates and times of operation, documentation/description of the power outage, total cumulative hours of operation per calendar year, records of maintenance, and hours for all other uses. Hazardous Waste: -Inspect hazardous waste storage areas, at least once prior to the rainy season and monthly during the rainy season. SPCC: -Conduct monthly visual inspections of all SPCC-subject oil storage containers. Stormwater: -Monthly visually observe each drainage area. -Inspect the property for accumulations of debris, litter, waste, organic matter, such as leaves or cut grass or other materials. -Regulary clean paved surfaces such as sidewalks using dry clean up methods such as sweeping or vacuuming. -Inspect and peform preventive maintenace on quipment such as emergency generators, HVAC systems and other similar items located on rooftops to prevent leaks and spills Wastewater: -Read the totalizing flow meter serving production and cleaning operations at a frequency that ensure accurate average daily flow calculations at least monthly.
| 4 | 5 | 6 | 7 | 8 | 9 | 10
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 11 | 12 | 13 | 14 | 15 | 16 | 17
|  | Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly. |  |  | Monthly, 15th day of the month: Wastewater: -Representative wastewater samples are to be collected from the sample box located 70 feet from the west side of the building and east of the fire hydrant. -(Submit Monthly Self-Monitoring Reports including: Beginning meter read and date Ending meter read and date Average flow/calendar day thru connection pH- instantaneous Chemical oxygen demand Oil and grease, total- instantaneous Sulfides, dissolved, instantaneous Solids, total dissolved Temperature, instantaneous Solids, total suspended Chloride, total)
| 18 | 19 | 20 | 21 | 22 | 23 | 24
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 25 | 26 | 27 | 28 | 29 | 30 | 31
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
2025-06-01 | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
| 1 | 2 | 3 | 4 | 5 | 6 | 7
Monthly: Air: -Track the hours of operation for the emergency engine to ensure operation for non-emergency purposes does not exceed 52 hours per calendar year. -Maintain a monthly operating log for the engine containing the dates and times of operation, documentation/description of the power outage, total cumulative hours of operation per calendar year, records of maintenance, and hours for all other uses. Hazardous Waste: -Inspect hazardous waste storage areas, at least once prior to the rainy season and monthly during the rainy season. SPCC: -Conduct monthly visual inspections of all SPCC-subject oil storage containers. Stormwater: -Monthly visually observe each drainage area. -Inspect the property for accumulations of debris, litter, waste, organic matter, such as leaves or cut grass or other materials. -Regulary clean paved surfaces such as sidewalks using dry clean up methods such as sweeping or vacuuming. -Inspect and peform preventive maintenace on quipment such as emergency generators, HVAC systems and other similar items located on rooftops to prevent leaks and spills Wastewater: -Read the totalizing flow meter serving production and cleaning operations at a frequency that ensure accurate average daily flow calculations at least monthly. Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 8 | 9 | 10 | 11 | 12 | 13 | 14
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 15 | 16 | 17 | 18 | 19 | 20 | 21
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly. Monthly, 15th day of the month: Wastewater: -Representative wastewater samples are to be collected from the sample box located 70 feet from the west side of the building and east of the fire hydrant. -(Submit Monthly Self-Monitoring Reports including: Beginning meter read and date Ending meter read and date Average flow/calendar day thru connection pH- instantaneous Chemical oxygen demand Oil and grease, total- instantaneous Sulfides, dissolved, instantaneous Solids, total dissolved Temperature, instantaneous Solids, total suspended Chloride, total)
| 22 | 23 | 24 | 25 | 26 | 27 | 28
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 29 | 30
Annualy due on Jun 30th: Stormwater: -Collect samples from and make visual observations of the first (1st) of at least two qualifying storm events (QSEs) during the second (2nd) half of the reporting year. -Collect samples from and make visual observations of the first (1st) of at least two qualifying storm events (QSEs) during the second (2nd) half of the reporting year. Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
2025-07-01 | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
|  |  | 1 | 2 | 3 | 4 | 5
Monthly: Air: -Track the hours of operation for the emergency engine to ensure operation for non-emergency purposes does not exceed 52 hours per calendar year. -Maintain a monthly operating log for the engine containing the dates and times of operation, documentation/description of the power outage, total cumulative hours of operation per calendar year, records of maintenance, and hours for all other uses. Hazardous Waste: -Inspect hazardous waste storage areas, at least once prior to the rainy season and monthly during the rainy season. SPCC: -Conduct monthly visual inspections of all SPCC-subject oil storage containers. Stormwater: -Monthly visually observe each drainage area. -Inspect the property for accumulations of debris, litter, waste, organic matter, such as leaves or cut grass or other materials. -Regulary clean paved surfaces such as sidewalks using dry clean up methods such as sweeping or vacuuming. -Inspect and peform preventive maintenace on quipment such as emergency generators, HVAC systems and other similar items located on rooftops to prevent leaks and spills Wastewater: -Read the totalizing flow meter serving production and cleaning operations at a frequency that ensure accurate average daily flow calculations at least monthly. Bi-Annualy: Wastewater: -Review and/or update the Approved Slug Discharge Prevention and Control Plan on file with IWCP at least every two years. Notify the IWCP immediately of any changes affecting the potential for slug discharge and submit a copy of the revised plan to IWCP. Annual Due on Jul 1st: -EPCRA: Review thresholds and releases to determine if Section 313 TRI Reporting is required for the previous year. -Hazardous Waste: Complete the facility's eVQ.
| 6 | 7 | 8 | 9 | 10 | 11 | 12
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 13 | 14 | 15 | 16 | 17 | 18 | 19
|  | Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly. | Annual due on Jul 15th: Stormwater: -Complete the storm water Annual Report in SMARTS. Monthly, 15th day of the month: Wastewater: -Representative wastewater samples are to be collected from the sample box located 70 feet from the west side of the building and east of the fire hydrant. -(Submit Monthly Self-Monitoring Reports including: Beginning meter read and date Ending meter read and date Average flow/calendar day thru connection pH- instantaneous Chemical oxygen demand Oil and grease, total- instantaneous Sulfides, dissolved, instantaneous Solids, total dissolved Temperature, instantaneous Solids, total suspended Chloride, total)
| 20 | 21 | 22 | 23 | 24 | 25 | 26
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 27 | 28 | 29 | 30 | 31
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
2025-08-01 | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
[6 empty] | 1 | 2
Monthly: Air: -Track the hours of operation for the emergency engine to ensure operation for non-emergency purposes does not exceed 52 hours per calendar year. -Maintain a monthly operating log for the engine containing the dates and times of operation, documentation/description of the power outage, total cumulative hours of operation per calendar year, records of maintenance, and hours for all other uses. Hazardous Waste: -Inspect hazardous waste storage areas, at least once prior to the rainy season and monthly during the rainy season. SPCC: -Conduct monthly visual inspections of all SPCC-subject oil storage containers. Stormwater: -Monthly visually observe each drainage area. -Inspect the property for accumulations of debris, litter, waste, organic matter, such as leaves or cut grass or other materials. -Regulary clean paved surfaces such as sidewalks using dry clean up methods such as sweeping or vacuuming. -Inspect and peform preventive maintenace on quipment such as emergency generators, HVAC systems and other similar items located on rooftops to prevent leaks and spills Wastewater: -Read the totalizing flow meter serving production and cleaning operations at a frequency that ensure accurate average daily flow calculations at least monthly.
| 3 | 4 | 5 | 6 | 7 | 8 | 9
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 10 | 11 | 12 | 13 | 14 | 15 | 16
|  | Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly. |  |  |  | Monthly, 15th day of the month: Wastewater: -Representative wastewater samples are to be collected from the sample box located 70 feet from the west side of the building and east of the fire hydrant. -(Submit Monthly Self-Monitoring Reports including: Beginning meter read and date Ending meter read and date Average flow/calendar day thru connection pH- instantaneous Chemical oxygen demand Oil and grease, total- instantaneous Sulfides, dissolved, instantaneous Solids, total dissolved Temperature, instantaneous Solids, total suspended Chloride, total)
| 17 | 18 | 19 | 20 | 21 | 22 | 23
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 24 | 25 | 26 | 27 | 28 | 29 | 30
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
31
2025-09-01 | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
|  | 1 | 2 | 3 | 4 | 5 | 6
Monthly: Air: -Track the hours of operation for the emergency engine to ensure operation for non-emergency purposes does not exceed 52 hours per calendar year. -Maintain a monthly operating log for the engine containing the dates and times of operation, documentation/description of the power outage, total cumulative hours of operation per calendar year, records of maintenance, and hours for all other uses. Hazardous Waste: -Inspect hazardous waste storage areas, at least once prior to the rainy season and monthly during the rainy season. SPCC: -Conduct monthly visual inspections of all SPCC-subject oil storage containers. Storwater: -Monthly visually observe each drainage area. -Inspect the property for accumulations of debris, litter, waste, organic matter, such as leaves or cut grass or other materials. -Regulary clean paved surfaces such as sidewalks using dry clean up methods such as sweeping or vacuuming. -Inspect and peform preventive maintenace on quipment such as emergency generators, HVAC systems and other similar items located on rooftops to prevent leaks and spills Wastewater: -Read the totalizing flow meter serving production and cleaning operations at a frequency that ensure accurate average daily flow calculations at least monthly. Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 7 | 8 | 9 | 10 | 11 | 12 | 13
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 14 | 15 | 16 | 17 | 18 | 19 | 20
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly. Monthly, 15th day of the month: Wastewater: -Representative wastewater samples are to be collected from the sample box located 70 feet from the west side of the building and east of the fire hydrant. -(Submit Monthly Self-Monitoring Reports including: Beginning meter read and date Ending meter read and date Average flow/calendar day thru connection pH- instantaneous Chemical oxygen demand Oil and grease, total- instantaneous Sulfides, dissolved, instantaneous Solids, total dissolved Temperature, instantaneous Solids, total suspended Chloride, total)
| 21 | 22 | 23 | 24 | 25 | 26 | 27
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 28 | 29 | 30
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
2025-10-01 | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
|  |  |  | 1 | 2 | 3 | 4
Monthly: Air: -Track the hours of operation for the emergency engine to ensure operation for non-emergency purposes does not exceed 52 hours per calendar year. -Maintain a monthly operating log for the engine containing the dates and times of operation, documentation/description of the power outage, total cumulative hours of operation per calendar year, records of maintenance, and hours for all other uses. Hazardous Waste: -Inspect hazardous waste storage areas, at least once prior to the rainy season and monthly during the rainy season. SPCC: -Conduct monthly visual inspections of all SPCC-subject oil storage containers. Stormwater: -Monthly visually observe each drainage area. -Inspect the property for accumulations of debris, litter, waste, organic matter, such as leaves or cut grass or other materials. -Regulary clean paved surfaces such as sidewalks using dry clean up methods such as sweeping or vacuuming. -Inspect and peform preventive maintenace on quipment such as emergency generators, HVAC systems and other similar items located on rooftops to prevent leaks and spills Wastewater: -Read the totalizing flow meter serving production and cleaning operations at a frequency that ensure accurate average daily flow calculations at least monthly.
| 5 | 6 | 7 | 8 | 9 | 10 | 11
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 12 | 13 | 14 | 15 | 16 | 17 | 18
|  | Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly. |  | Monthly, 15th day of the month: Wastewater: -Representative wastewater samples are to be collected from the sample box located 70 feet from the west side of the building and east of the fire hydrant. -(Submit Monthly Self-Monitoring Reports including: Beginning meter read and date Ending meter read and date Average flow/calendar day thru connection pH- instantaneous Chemical oxygen demand Oil and grease, total- instantaneous Sulfides, dissolved, instantaneous Solids, total dissolved Temperature, instantaneous Solids, total suspended Chloride, total)
| 19 | 20 | 21 | 22 | 23 | 24 | 25
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 26 | 27 | 28 | 29 | 30 | 31
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
2025-11-01 | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
1
| 2 | 3 | 4 | 5 | 6 | 7 | 8
Monthly: Air: -Track the hours of operation for the emergency engine to ensure operation for non-emergency purposes does not exceed 52 hours per calendar year. -Maintain a monthly operating log for the engine containing the dates and times of operation, documentation/description of the power outage, total cumulative hours of operation per calendar year, records of maintenance, and hours for all other uses. Hazardous Waste: -Inspect hazardous waste storage areas, at least once prior to the rainy season and monthly during the rainy season. SPCC: -Conduct monthly visual inspections of all SPCC-subject oil storage containers. Stormwater: -Monthly visually observe each drainage area. -Inspect the property for accumulations of debris, litter, waste, organic matter, such as leaves or cut grass or other materials. -Regulary clean paved surfaces such as sidewalks using dry clean up methods such as sweeping or vacuuming. -Inspect and peform preventive maintenace on quipment such as emergency generators, HVAC systems and other similar items located on rooftops to prevent leaks and spills Wastewater: -Read the totalizing flow meter serving production and cleaning operations at a frequency that ensure accurate average daily flow calculations at least monthly. Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 9 | 10 | 11 | 12 | 13 | 14 | 15
|  | Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly. |  |  |  | Monthly, 15th day of the month: Wastewater: -Representative wastewater samples are to be collected from the sample box located 70 feet from the west side of the building and east of the fire hydrant. -(Submit Monthly Self-Monitoring Reports including: Beginning meter read and date Ending meter read and date Average flow/calendar day thru connection pH- instantaneous Chemical oxygen demand Oil and grease, total- instantaneous Sulfides, dissolved, instantaneous Solids, total dissolved Temperature, instantaneous Solids, total suspended Chloride, total)
| 16 | 17 | 18 | 19 | 20 | 21 | 22
|  | Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly. |  |  |  | Annual 90 (business) days from jul 1st: Stormwater: -If necessary based on the ACFCE, revise, recertify, and resubmit the SWPPP as a COI in SMARTS.
| 23 | 24 | 25 | 26 | 27 | 28 | 29
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
30
2025-12-01 | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
|  | 1 | 2 | 3 | 4 | 5 | 6
Monthly: Air: -Track the hours of operation for the emergency engine to ensure operation for non-emergency purposes does not exceed 52 hours per calendar year. -Maintain a monthly operating log for the engine containing the dates and times of operation, documentation/description of the power outage, total cumulative hours of operation per calendar year, records of maintenance, and hours for all other uses. Hazardous Waste: -Inspect hazardous waste storage areas, at least once prior to the rainy season and monthly during the rainy season. SPCC: -Conduct monthly visual inspections of all SPCC-subject oil storage containers. Stormwater: -Monthly visually observe each drainage area. -Inspect the property for accumulations of debris, litter, waste, organic matter, such as leaves or cut grass or other materials. -Regulary clean paved surfaces such as sidewalks using dry clean up methods such as sweeping or vacuuming. -Inspect and peform preventive maintenace on quipment such as emergency generators, HVAC systems and other similar items located on rooftops to prevent leaks and spills Wastewater: -Read the totalizing flow meter serving production and cleaning operations at a frequency that ensure accurate average daily flow calculations at least monthly. Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 7 | 8 | 9 | 10 | 11 | 12 | 13
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 14 | 15 | 16 | 17 | 18 | 19 | 20
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly. Monthly, 15th day of the month: Wastewater: -Representative wastewater samples are to be collected from the sample box located 70 feet from the west side of the building and east of the fire hydrant. -(Submit Monthly Self-Monitoring Reports including: Beginning meter read and date Ending meter read and date Average flow/calendar day thru connection pH- instantaneous Chemical oxygen demand Oil and grease, total- instantaneous Sulfides, dissolved, instantaneous Solids, total dissolved Temperature, instantaneous Solids, total suspended Chloride, total)
| 21 | 22 | 23 | 24 | 25 | 26 | 27
Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly.
| 28 | 29 | 30 | 31
|  | Weekly: Hazardous Waste -Conduct inspections of hazardous waste container storage areas. Wastewater: -Clean and calibrate pH probes used in the pretreatment system weekly. |  | Annually due on Dec 31st: Stormwater: -Collect samples from and make visual observations of the first (1st) of at least two qualifying storm events (QSEs) during the first half of the reporting year. -Collect samples from and make visual observations of the second (2nd) of at least two qualifying storm events (QSEs) during the first half of the reporting year.